## AV-new
TEST REPORT
CUSTOMER NAME |  |  | Uni Medicolabs
ADDRESS |  |  | Selakui, Dehradun
NATURE OF TEST |  |  | AIR VELOCITY
TEST TAKEN |  |  | 16/07/2022
EQUIPMENT ID |  |  | 234
LOCATION |  |  | DEHRADHUN
DONE DATE |  |  | 2021/04/10
DUE DATE |  |  | 2022/03/10
REPORT NO. |  |  | PPE0002AV01A
STANDARD INSTRUMENT USED FOR TEST:
INSTRUMENT NAME |  | MAKE/MODEL |  |  |  | SR.NO. |  |  |  | VALIDITY
VANE TYPE ANEMOETER |  | HT-9819 |  |  |  | 202003305488 |  |  |  | 2022/03/10
OBSERVATIONS:
Equipment Name & ID No. | Inlet No. |  | V1 | V2 | V3 | V4 | V5 | Avg. Vel. | CFM |  | ACPH
RLAF | AHU-05/S-01 |  | 40 | 50 | 60 | 70 | 80 | 60 | 60 |  | 8160
| AHU-05/S-01 |  | 70 | 80 | 90 | 90 | 50 | 76 | 76
TOTAL CFM | [9 empty] | 136
Acceptance criteria :Not less Than ACPH | [6 empty] | GRADE : A
TEST CARRIED OUT BY |  |  |  |  | VERIFIED BY
PIN POINT ENGINEER |  |  |  |  | Uni Medicolabs
Test Carried out by sureshk on 16/07/2022 17:34:09