## AV-new
TEST REPORT
CUSTOMER NAME |  |  | Uni Medicolabs
ADDRESS |  |  | Selakui, Dehradun
NATURE OF TEST |  |  | AIR VELOCITY
TEST TAKEN |  |  | 16/07/2022
Equipment ID |  |  | ahu number 56
LOCATION |  |  | DEHRADHUN
DONE DATE |  |  | 2021/09/11
DUE DATE |  |  | 2021/09/11
REPORT NO. |  |  | PPE0002AV01A
STANDARD INSTRUMENT USED FOR TEST:
INSTRUMENT NAME |  | MAKE/MODEL |  |  |  | SR.NO. |  |  |  | VALIDITY
VANE TYPE ANEMOETER |  | AVM-04 |  |  |  | S12K240201 |  |  |  | 2021/09/11
OBSERVATIONS:
Equipment Name & ID No. | Inlet No. |  | V1 | V2 | V3 | V4 | V5 | Avg. Vel. | CFM |  | ACPH
ROOM NAME 02 | 25 |  | 50 | 50 | 50 | 50 | 50 | 50 | 50 |  | 3000
TOTAL CFM | [9 empty] | 50
Acceptance criteria :Not less Than ACPH | [6 empty] | GRADE : A
TEST CARRIED OUT BY |  |  |  |  | VERIFIED BY
PIN POINT ENGINEER |  |  |  |  | Uni Medicolabs
Test Carried out by sureshk on 16/07/2022 17:26:50