## AV-new
TEST REPORT
CUSTOMER NAME |  |  | Anant Pharma
ADDRESS |  |  | G.T Road Uchani ,Karnal (132001)
NATURE OF TEST |  |  | PARTICLE COUNT REPORT
TEST TAKEN |  |  | 12/07/2022
AHU NO. |  |  | AHU 786
LOCATION |  |  | DEHRADHUN
DONE DATE |  |  | 13/01/2022
DUE DATE |  |  | 13/01/2023
REPORT NO. |  |  | PPE094AV01A
STANDARD INSTRUMENT USED FOR TEST:
INSTRUMENT NAME |  | MAKE/MODEL |  |  | SR.NO. |  |  | VALIDITY
Partical Counter |  | 9500-01 |  |  | 95001809003 |  |  | 13/01/2023
OBSERVATIONS:
Sr. No. | Room Name & ID No. |  | Location | ≥ 0.5 μm |  | ≥ 5.0 μm | Remark
1 | Granulation-III |  | 2 | 2 |  | 2 | Pass
|  |  | Average | 2 |  | 2
STD
Maximum ISO 14644:2015
GRADE |  |  |  | 0.5 m |  |  | 5.0 m
GRADE ISO 7 |  |  |  | 352000 |  |  | 2930
TEST CARRIED OUT BY |  |  |  | VERIFIED BY
PIN POINT ENGINEER |  |  |  | Anant Pharma
Test Carried out by deepurana on 12/07/2022 23:50:30