## AV-new
TEST REPORT
CUSTOMER NAME |  |  | Immacule
ADDRESS |  |  | Nalagarah
NATURE OF TEST |  |  | AIR VELOCITY
TEST TAKEN ON |  |  | 19/08/2022
EQUIPMENT ID |  |  | 3423
LOCATION |  |  | yvjh
REPORT NO. |  |  | PPE0003AV01A
STANDARD INSTRUMENT USED FOR TEST:
INSTRUMENT NAME |  | MAKE/MODEL |  |  |  | SR.NO. |  |  |  | VALIDITY
Anemometer |  | AVM-04 |  |  |  | 123445 |  |  |  | 04/09/2022
OBSERVATIONS:
Equipment Name & ID No. | Inlet No. |  | V1 | V2 | V3 | V4 | V5 | Avg. Vel. | CFM |  | ACPH
xfdxfd | 32 | 10 |  | 10 |  | 10 |  | 10 |  | 10 |  | 10
TOTAL CFM | [9 empty] | 10
Acceptance criteria :Not less Than ACPH | [6 empty] | GRADE : A
TEST CARRIED OUT BY |  |  |  |  | VERIFIED BY
PIN POINT ENGINEERS |  |  |  |  | Immacule
Test Carried out by analyst on 2022-08-19 23:58:40